THE SCHOOL DISTRICT OF PHILADELPHIA

SCHOOL REFORM COMMISSION

CAPITAL PROGRAMS

440 N. Broad Street, Philadelphia, PA 19130

Phone: (215) 400-5192                 Fax: (215) 400-4732

ADDENDUM NO.  2

Subject:	Paving Replcaement

SDP Contract Nos.: B-085 C OF 2016 /17

Location:	Lankenau High School

201 Spring Lane, Philadelphia, PA  19128

This Addendum No 2 dated April 18, 2018 shall modify and become part of the proposed Contract Documents of the Work of this project.  Any items not mentioned herein, or affected by, shall be performed strictly in accordance with the original Contract Documents.  This Addendum contains (1) page

The following items, clarifications and/or revisions are to be included in the Contract Documents.

1. Has the existing onsite material been tested in accordance with PADEP Clean Fill Standards?

This information is located within the project specifications. Refer to 01 1100 – Environmental Coordination specification and associated attachment, Soil Quality Testing Report.

2. If the material has not been tested, who is responsible for testing the material?

This information is located within the project specifications. Refer to 01 1100 – Environmental Coordination specification and associated attachment, Soil Quality Testing Report.

3. Can the material be managed as Clean Fill in accordance with the PADEP Clean Fill Standards?

This information is located within the project specifications. Refer to 01 1100 – Environmental Coordination specification and associated attachment, Soil Quality Testing Report.

4. If the material cannot be managed as Clean Fill, what should we assume for bidding purposes?

Refer to 01 1100 – Environmental Coordination specification and associated attachment, Soil Quality Testing Report.

5. Are there liquidated damages on this project? If yes, what are they?

This information is within the project specifications.

6. Is there a geotechnical report for this project? If yes, can we have a copy of it?

A limited geotechnical investigation was performed for infiltration testing and to assess the thickness of the existing pavement section in order to determine if milling and overlay was feasible at any locations on site.  The report is attached to this addendum.

7. Are there borings for this project? If yes, can we have them along with a boring location plan?

The available boring information is included in the attached geotechnical report.

8. Are there any work hour restrictions on this project?

Hours are not restricted, however any work occurring after 8/21/2018 must be coordinated with the school administration in order to facilitate the drop-off and pick-up of students.

9. Is the excavation work classified or unclassified?

The excavation work is unclassified.

10. Who is responsible for testing and inspection work?

The contractor is required to provide all specified third party testing and inspection.

11. Is there parking on site for our workers?

Parking is available within the work zone onsite until 8/21/2018.  After 8/21/2018 on-site parking must be coordinated with the school administration to ensure access for students and staff.